MSc course programme on Biomedical Optics

Janis Spigulis

University of Latvia, Faculty of Physics and Mathematics, IAPS

Raina Blvd. 19, Riga, LV-1586, Latvia

E-mail: janispi@acad.latnet.lv

ABSTRACT

A new Msc study course programme on Biomedical Optics has been developed and adapted. The programme consists of three main parts:

- Fundamentals of tissue optics,

- Optical sensing for diagnostics and monitoring,

- Laser-tissue interaction and laser treatment.

The full programme and some comments on it are presented.

Keywords: biomedical optics education.

1. INTRODUCTION

Biomedical Optics has become a significant research and clinical application area attracting wide public attention during the recent decade. Large and well-attended annual symposia and conferences on Biomedical Optics are organized in Europe (EUROPTO BIOS-Europe series), USA (SPIE BIOS-series in San Jose, CA), and elsewhere. Results of research and development are regularly published at “Journal of Biomedical Optics”, “Biophotonics International” and other specialized journals. Many physicists are involved in this promising interdisciplinary area now, as well as doctors and other specialists with bio-medical background. The additionally needed knowledge and skills most of them had acquired by self-education and self-training. Only few topics of Biomedical Optics are included in traditionally well-established study programmes like Medical Physics or Bioengineering. In fact, regular study courses on Biomedical Optics at BSc and MSc levels are hardly available both in Europe and USA - mainly due to lack of textbooks, teaching methodology and internationally recognized study programmes.

The Physics Department at Faculty of Physics and Mathematics, University of Latvia, has announced a new two-year “pilot” MSc curriculum  on Biomedical Optics in 1995. The basic courses included are Biomedical Optics, Lasers and Other Light Sources, Optical Medical Instruments, Medical Lightguides, Anatomy and Physiology, Optical Methods of Patient Treatment, etc.

The newly developed MSc course progamme on Biomedical Optics (128 lecture hours) is presented below. Any comments and suggestions on it would be highly appreciated.

2. THE PROGRAMME

A. Fundamentals of tissue optics.

1. Propagation of optical radiation in tissues.

1.1. Optical wavelength range: ultraviolet, visible and infrared spectral regions and their limits; specific “A”, “B” and “C” bands of UV and IR. Main processes of the light-matter interaction: absorption, scattering, reflection, refraction, luminescence, interference, polarization; their physical models and mechanisms. Energetic structure of matter in gaseous, liquid and solid state, character of corresponding absorption and emission spectra.

1.2. Specific features of living tissues from the point of optics. Relations of scattering and absorption  in tissues; the “therapeutic window”.

1.3. Models of light propagation in tissues and the parameters used: absorption and scattering coefficients, anisotropy, penetration depth, transport parameters; their connection with diffuse reflectance (remission). Time-resolved remittance models. Modeling of anisotropic, isotropic and layered tissue structures.

1.4. Experimental studies of light propagation in tissues; tissue phantoms in experiments. Basic principles of optical tomography.

2. Skin optics.

2.1. Structure of human skin. Thicknesses and optical properties of appropriate skin layers. The Kubelka - Munk model. Experimental data on skin absorbance and remittance in different spectral regions. Skin pigments (melanin, bilirubin, carotene, haemoglobin) and their spectra.

2.2. Influence of UV radiation to human skin. Human erytherma action spectra. Melanogenesis (tanning) and its mechanism. Classification of human skin types according to sunburn. Sunscreens; sun protection factor (SPF) values and subsequent effects.

2.3. Principles of phototherapy. Heliotherapy. Solariums and their equipment; spectral and power parameters of solaruim lamps. Phototherapy of Hyperbilirubinemia and Psoriasis.

3. Blood optics.

2.1 Composition of blood. Spectral properties of  erythrocytes, thrombocytes and blood plasma.

2.2. Differences between oxygenated and unoxygenated haemoglobin absorption spectra. Principles of optical pulse oximetry.

2.3. Routine “in vitro”  blood spectral analysis in laboratories: basic requirements and equipment.

4. Optics of the hard tissues.

4.1. Structure of human bones, nails and teeth; their spectral characteristics.

4.2. Teeth fluorescence and its use for diagnosis of caries. Photopolymeric teeth fillings and their irradiation devices.

5. Eye optics.

5.1. Structure of human eye. Absorbance and refractivity of  various components in ocular media. Color vision mechanism, color receptors and their spectral sensitivity.

5.2. Effects of UV-A,B,C, visible and IR-A,B,C irradiation on human vision. Retinal maximum permissible exposures of optical radiation. Eye protective filters and goggles.

B. Optical sensing for diagnostics and monitoring.

1. Biomedical optical sensors: general classification. Pure optical, physical and chemical sensors; sensors for diagnostics, patient monitoring and signalling. Invasive and non-invasive optical sensors. Optical fibre medical sensors.

2. Photoplethysmography; its use for heartbeat rate, blood supply and arterial blood pressure sensing.

3. Optical pulse oximeters: design principles. Invasive and non-invasive blood oxygen saturation measurements. Features of finger, earlobe and eye pulse oximetry. Remission-based one-touch pulse oximeters. Commercial devices.

4. Laser Doppler flowmetry: basic principles of operation. Blood supply and blood flow measurements by means of LDF. Design of invasive and non-invasive LDFs. Non-contact blood flow determination, blood flow imaging and mapping. Commercial devices.

5. Near-infrared cerebral oxygenation monitoring. Absorption of haemoglobin and cytochrome aa3 in 700 - 1000 nm wavelength region. Peculiarities of infant NIRO-monitoring. Commercial devices.

6. Spectrometry of human tissues. Absorption and remission in-vivo measurements of glucose, bilirubin and fat in a human body. In-vitro spectrometry in clinical laboratories and pharmacology praxis. Commercial devices.

7. Optical sensing of physical parameters. Design principles of biomedical optical sensors of temperature, pressure and displacement. Commercial devices.

8. Optical sensing of biochemical analytes. Evanescent wave devices. Fibre optic invasive biosensors for determination of pH, O2, CO2 and other analytes in human body. Commercial devices.

9. Optical fluorescence diagnostics: main principles and applications in oncology, cardiology and dentistry.

C. Laser-tissue interactions and laser treatment.

1. Basic designs of medical lasers and radiation delivery devices.

2. General mechanisms of laser-tissue interaction. Laser-caused photochemical, photothermal and photodecomposition effects; corresponding radiant doses and temperature intervals. Penetration depth of laser radiation in tissues. Cellural necrosis as  a time-temperature function. Critical laser power/energy densities causing photocoagulation, carbonization, vaporization and photoablation of tissues.

3. Medical laser safety. Laser safety classes 1, 2, 3A, 3B and 4 and the corresponding potential hazards. Occupational exposure limits for commonly used lasers. Laser-protective goggles. Laser danger warning labels and their colouring. Laser safety national and international standards.

4. Low-power laser therapy and biostimulation: techniques and possible mechanisms. Laser acupuncture and wound healing.

5. Medium-power laser applications. Laser photodynamic therapy: basic idea and the optical energy transfer scheme. Designs of optical diffusers used for PDT. Port wine strain and tattoo removal by laser irradiation: physical principles.

6. High-power laser applications. Principles of laser surgery, laser angioplasty and laser dentistry. Tissue welding by laser radiation. Laser spark, bubble creation and shock wave dynamics. Advantages and applications of Holmium and Erbium lasers in medicine.

3. INFORMATION SOURCES AND THE TWO-YEAR TEACHING EXPERIENCE

A broad spectrum of information sources was used to prepare this programme. The books referred below (in chronological order) are very informative and useful, as well as a number of review papers from journals and proceedings which are not reflected here. One must note that Biomedical Optics is a very dynamic and rapidly developing field, therefore all recent proceedings of the SPIE and EUROPTO BIOS-conferences can be recommended to be always on the “cutting edge”.

A lot of information for this programme was collected during author’s 6 month stay at King’s College London in 1995, especially by attending the Oxford Summer School Optics in Medicine 11; also the 6 week TEMPUS-PHARE project to develop this programme at London and Linkoping universities in 1996 was very useful.  A number of books and papers on specific items were found in libraries and by search in the MEDLINE database, some information on the topic is available at Internet, as well.

Two MSc student groups (8 and 9 persons) were educated following this programme in academic years 1995/1996 and 1996/1997. The students were with various backgrounds - physics, engineering, biology and medicine. Generally all of them have acquired the main items of the course without significant difficulties, only few students with medical background had some problems with physical description of the biooptical phenomena in tissues.  The 2nd year students worked out their MSc thesis this spring; for illustration, there are some titles of the MSc thesis:

- Application of Tissue Fluorescence for Cancer Diagnostics,

- Phototherapy of Infant Hyperbilirubinemia,

- Image Analysis in Medical Diagnostics,

- Dosimetry Problems of Intravascular Laser Irradiation,

- Methods of Underskin Optical Monitoring.

4. ACKNOWLEDGMENTS

This programme could be created only thanks to support and advises of numerous Biomedical Optics professionals. The author is most obliged to Prof. D. T. Delpy, University College London, U. K., and Prof. P. A. Oberg, Linkoping University, Sweden. The financial support received in frame of the TEMPUS-PHARE grant IMG-95-LV-2007 is highly appreciated.

5.  REFERENCES

1. J. D. Regan and J. A. Parrish, The Science of Photomedicine, Plenum Press, N-Y and London, 1982

2. D. Sliney, Safety with Lasers and Other Optical Sources, Plenum Press, NY and London, 1982

3. P. Rolfe, Non-invasive Physiological Measurements, v. 2, Academic Press, London, 1983.

4. J. P. Payne and J. W. Severinghaus, Pulse Oximetry, Springer-Verlag, Berlin, 1986.

5. J. A. S. Carruth and A. L. McKenzie, Medical Lasers: Science and Clinical Practice, Adam Hilger Ltd., Bristol and Boston, 1986.

6. A. P. Sheperd and P. A. Oberg, Laser Doppler Blood Flowmetry, Kluwer Publ., Boston, 1990.

7. U. Dingali et al., Optical Imaging of Brain Functions and Metabolism, Plenum Press, N-Y, 1993.

8. A. Katzir, Lasers and Optical Fibers in Medicine, Academic Press, N-Y, 1993.

9. P. Vaupel et al., Oxygen Transport to Tissue XV, Plenum Press, N-Y and London, 1994.

10. BIOS Europe ‘94 - International Symposium on Biomedical Optics, EUROPTO, Lille, 1994.

11. Materials of the 2nd Mayneord-Phillips Summer School Optics in Medicine, Oxford, 1995.

12. A. J. Welch, M. Van Germet, Optical Thermal Response of Laser-Irradiated Tissue, Plenum Press, N-Y, 1995.

13. J. Spigulis, The Potential for Fibre Optic Sensors in Medical Monitoring, King’s College London, 1995.

14. S. L. Jacques, Tissue Optics, SPIE Short Course Notes SC 34, Bellingham, 1996.

15. T. Hasan, Fundamentals of Photochemistry and Photodynamic Therapy, SPIE Short Course Notes SC 35, 1996.

16. BIOS ‘96 - International Symposium on Biomedical Optics: Technical Abstract Digest, SPIE, San Jose, 1996.

17. BIOS ‘97 - International Symposium on Biomedical Optics: Technical Abstract Digest, SPIE, San Jose, 1997.

Published in: SPIE Proc. Vol. 3190, 1997, p. 342-345 (ISBN 0-8194-2622-9).

Reported at EDUCATION AND TRAINING IN OPTICS, Delft (NL), August 1997.

Master’s level education in Biomedical Optics:

four-year experience at University of Latvia

Janis Spigulis

University of Latvia, Department of Physics, Raina Blvd. 19, Riga, LV-1586, Latvia

ABSTRACT

Pilot program for Master’s studies on Biomedical Optics has been developed and launched at University of Latvia in 1995. The Curriculum contains several basic subjects like Fundamentals of Biomedical Optics, Medical Lightguides, Anatomy and Physiology, Lasers and Non-coherent Light Sources, Optical Instrumentation for Healthcare, Optical Methods for Patient Treatment, Basic Physics, etc. Special English Terminology and Laboratory-Clinical Praxis are also involved, and the Master Theses is the final step for the degree award. Following our four-year teaching experience, some observations, conclusions and eventual future activities are discussed below.

Keywords: biomedical optics education, Master’s study programs.

1. INTRODUCTION

Physics post-graduate program at University of Latvia offers a wide variety of study sub-programs, and Biomedical Optics as a very rapidly developing inter-disciplinary research and application area was also included there four years ago. Detailed description of its basic course - Fundamentals of Biomedical Optics – was presented at the previous ETOP conference 1. This paper gives a deeper insight in the other courses and in the whole Curriculum design. Recently some internationalization of this program was initiated in frame of a European TEMPUS project 2, and new activities like development of a specialized Biomedical Optics library and facilities for student’s laboratory works with bio-optical equipment were started. Several aspects of the teaching experience and technology will be critically analyzed below.

2. THE CURRICULUM

The Curriculum for the two-year/four-semester Biomedical Optics Master’s studies presently includes following subjects (with the corresponding credits):

No.   SEMESTER		SUBJECT			    PART/CREDITS/EXAM-PASS

1. 	1	Fundamentals of Biomedical Optics – I (Tissue Optics,	A	4	P

Optical Sensing for Diagnostics and Monitoring)

2.	1	Basic Physics							A	4	E

3.	1	Optical Instrumentation for Healthcare			A	4	E

4.	1	Computer Skills						B	3	P

5.	1	Fundamentals of Opto-electronics				B	3	P

6.	2	Anatomy and Physiology					A	4	E

7.	2	Lasers and Non-coherent Light Sources			A	4	E

8.	2	Medical Lightguides						A	4	P

9.	2	Special English Terminology					B	3	P

10.	2	Methods of Experimental Spectroscopy			B	3	P

11.	3	Fundamentals of Biomedical Optics – II			A	4	E

(Laser-Tissue Interaction, Laser Medicine)

12.	3	Optical Methods for Patient Treatment			A	4	E

13.	3	Laboratory – Clinical Praxis					A	3	P

14.	3	Special English 						B	3	P

15.	3	Optical Sensors and Analytical Devices			B	3	P

16.	4	Techniques of Laser Medicine				A	4	P

17.	4	Master Thesis							A	32	D

______________________________________________

Abbreviations:

A - compulsory subjects, P – pass without mark, B – free choice subjects, E – exam with mark, D – public defense of the Thesis.

To receive the Master’s degree, students must collect at least 80 credits – to pass 10 compulsory (A) and 3 free choice (B) subjects out of 6, and to defend their Master Thesis. To start the Master studies, the Bachelor degree in physics, engineering or life sciences is required. Brief abstracts of the basic compulsory courses are given below.

Fundamentals of Biomedical Optics 1 as the largest course (8 credits) is divided into two parts. The first part includes Tissue Optics (propagation of optical radiation in tissues, skin optics, blood optics, eye optics and optics of the hard tissues) and Optical Sensing for Diagnostics and Monitoring (photoplethysmography, pulse oximetry, laser-Doppler blood flowmetry, NIR monitoring of cerebral oxygenation, optical sensors of physical and biochemical parameters, spectrometric sensors and fluorosensors). The second part covers laser-tissue interactions and laser treatment (medical lasers, laser safety, laser bio-stimulation, laser photodynamic therapy - PDT, laser applications in cosmetology, surgery, dentistry and other medical specialties).

Optical Instrumentation for Healthcare is a course giving overview on the basic principles and design solutions of the optical equipment used in clinical environment - microscopes, polarimeters, spectrometers, neftelometers, etc.

Anatomy and Physiology course is addressed mainly to the students with physics and engineering background. Its anatomy part regards the composition of human body, structure of brain, heart, kidneys and other organs, as well as the neural, respiratory, reproductive and other essential living systems. The physiology part includes homeostasis, blood supply, muscle dynamics, cellular structures and physiological functions of the basic human organs.

##### Lasers and Non-coherent Light Sources is a course explaining basic physical principles of non-coherent and coherent light emission. It regards specific features of various laser types (gas, solid state, semi-conductor, excimer, etc.) and their applications in non-linear optics, spectroscopy, environmental studies and medicine. Non-coherent sources like halogen lamps and discharge tubes are regarded, as well.

Medical Lightguides is a course concerning basic of fiber optics and applications of fiber lightguides in various medical devices – fibroendoscopes, “cold light” and non-shadow  illuminators, medical laser delivery systems, phototherapy units, bio-optical sensors, etc.

Optical Methods for Patient Treatment is a clinically oriented course on thermal and non-thermal laser interactions with living tissues. Laser therapy (including laser acupuncture and combined magneto-optical procedures) and laser surgery (including eye surgery) are regarded in details in frame of this course.

The other courses included in the Curriculum are of a major importance, as well; however, their content will dot be discussed in this paper.

3. PRACTICAL ASPECTS

A team of eight lecturers teaches the Biomedical Optics sub-program; five of them are the professor-level teachers. Typically about ten students formed the 1st semester group in years 1995 –1998. Regarding their backgrounds, the physics, engineering and life science backgrounds were distributed nearly equally. Two distinct age groups of the students were identified – one of just graduated (23…25 years) students, the other of more experienced (30...40 years) persons. Female to male relation in groups was roughly 2 : 1.

One of the biggest teaching problems was and still is the lack of suitable textbooks in the profile topics. The field is emerging very dynamically, and regular studies of the periodicals (e. g. the journals “Biomedical Optics” and “Biophotonics”) are always necessary. However, there is also a lot of proved and established knowledge which is mainly available in review articles, and only few specialized books can be recommended for students. This year we started to create the Biomedical Optics library; now it consists of about 100 units – books (or copies of their chapters), conference proceedings and periodicals. Several collected books are cited here 3-20, and selected chapters at some of them 3-5, 10-15 we find quite suitable for the students as the basic literature sources.

Acquisition of practical skills is a very important aspect of the teaching process. Laboratory-Clinical Praxis is included in the part A of the study plan at the 3rd semester. During this praxis students spend certain time (at least 6 full days) in real laboratory or clinical environment dealing independently with some particular problem. If this work is successful, it is usually extended at the Master’s project. A further step to increase the role of practical activities is development of the student’s laboratory on Biomedical Optics. Several student practicals concerning optical properties of tissues (laser light scattering from tissue samples and phantoms; light penetration, transmission and absorption in tissues; laser-excited tissue fluorescence) and the non-invasive optical diagnostics (photoplethysmography, pulse oximetry, laser-Doppler blood flowmetry) are going to be worked-out.

The development of the specialized library and student’s laboratory on Biomedical Optics was possible thanks to financial support from the European structures in frame of the TEMPUS project 2 incorporating five Baltic universities and two from the EU countries (Linkoping University, Sweden, and King’s College London, UK). University of Latvia is recognized as the regional center of excellence on Biomedical Optics teaching in frame of this project. International links are developed also with other European universities, e. g. Lund University (Sweden), University College London (UK), University of Patras (Greece). Development of specialized regional or international centers seems to be a future trend of providing Master’s education on narrow inter-disciplinary subjects, and University of Latvia eventually might be such a center in the field of Biomedical Optics education in future.

Several problems in the Biomedical Optics teaching area have been identified and extensively discussed:

- substantial differences in student’s background knowledge levels, especially on physics; medical graduates sometime have difficulties to follow the lectures on special subjects, even after passing the Basic Physics course at the 1st semester;

- the Curriculum does not cover all aspects of the area; in particular, Medical Imaging and probably some more subjects ought to be added in future, thus changing the existing balance of subjects;

- the Master’s study program is fairly time-consuming (2 years), and many students cannot afford to spend all their time for studies; therefore the mean successful output rate for this sub-program has been only about 30 %;

- the research activities on the subject should be developed more actively, and additional research funding is needed;

- the program has relatively weak support by the local clinical and medical institutions;

- the program offers only academic degree without any professional certificate (which sometimes can be of value, e. g. for  the young clinicians);

- the social need for this kind of specialists is relatively low, but it will definitely grow in future.

4. CONCLUSIONS

- Master’s education on Biomedical Optics at University of Latvia has proved its viability.

- The Curriculum (80 credits) covers the basic topics of the field; however, regular updating of the Curriculum and the course Syllabi would be necessary.

- To provide further improvements of the teaching quality, the specialized Biomedical Optics library and student’s laboratory are under development.

- Several practical problems associated with Master’s teaching in Biomedical Optics have been identified and discussed.

- International collaboration in the Biomedical Optics education is rapidly developing; any suggestions, proposals and comments on this would be highly appreciated.

#### REFERENCES

- J. Spigulis, “MSc course programme on Biomedical Optics”, SPIE Proc. Vol. 3190, 1997, pp. 342-345.

- Y. Dekhtyar, et al., “Joint Baltic Biomedical Engineering and Physics courses”, Med. Biol. Eng, Comput., 37, Suppl. 1, 1999, pp. 144-145.

- A. J. Welsh, M. van Germet, Optical Thermal Response of Laser-Irradiated Tissue, Plenum Press, NY, 1995.

- J. D. Regan, J. A. Parrish, The Science of Photomedicine, Plenum Press, NY, 1982.

- S. L. Jacques, Tissue Optics, SPIE Short Course Notes SC34, Bellingham, 1996.

- M. H. Niemz, Laser-Tissue Interactions: Fundamentals and Applications, Springer, Berlin, 1996.

- C. A. Puliafito (ed.), Laser Surgery and Medicine: Principles and Practice, Wiley-Liss, NY, 1996.

- H. W. Lim, N. A. Soter, Clinical Photomedicine, Marcel Dekker, NY, 1993.

- L. I. Grossweiner, The Science of Phototherpy, CRC Press, Boca Raton, 1994.

- A. P. Shepard, P. A. Oberg, Laser Doppler Blood Flowmetry, Kluwer Publ., Boston, 1990.

- A. Katzir, Lasers and Optical Fibers in Medicine, Academic Press, NY, 1993.

- J. S. Gravenstein, Gas Monitoring and Pulse Oximetry, Butterworth-Henemann, Boston, 1990.

- J. P. Payne and J. W. Severinghaus, Pulse Oximetry, Springer, Berlin, 1986.

- O. Svelto, Principles of Lasers, Plenum Press, NY, 1998.

- D. H. Sliney (ed.), Laser Safety, SPIE Vol. MS117, Bellingham, 1995.

- D. Sliney, Safety with Lasers and Other Optical Sources, Plenum Press, NY, 1982.

- G. J. Mueller (ed.), Laser-Induced Interstitial Thermotherapy, SPIE Vol. PM25, Bellingham, 1995.

- C. J. Gomer (ed.), Future Directions and Applications in Photodynamic Therapy, SPIE Vol. IS06, Bellingham, 1990.

- G. J. Mueller et al. (ed.), Medical Optical Tomography: Functional Imaging and Monitoring, SPIE Vol. IS11, Bellingham, 1993.

- U. Dugnali et al., Optical Imaging of the Brain Functions and Metabolism, Plenum Press, NY, 1993.

Published in: SPIE Proc. Vol. 3831 (Education in Optics and Photonics), 1999, p. 189-192.

Optical sensing for early cardiovascular diagnostics

###### Janis Spigulis*, Girts Venckus and Maris Ozols

University of Latvia, Department of Physics and IAPS, Raina Blvd. 19, Riga, LV-1586, Latvia

ABSTRACT

A sensor device for noninvasive detection and analysis of the pulsating blood flow waveforms by means of the reflective single-period photoplethysmography (SPPPG) technique has been designed and clinically tested. The sensor is operated jointly with any standard PC, by connecting the sensor head to the AD-card and using a separate hard disc with the signal processing software; all circuits are feeded by the PC power supply. After processing, normalized shape of the mean SPPPG signal and its parameters are calculated and displayed; the measurement/processing time does not exceed 2 minutes. The clinically detected SPPPG signal shapes and corresponding parameters are presented and discussed. The preliminary results confirm good potential of this sensing approach for fast and patient-friendly early cardiovascular diagnostics.

Keywords: Photoplethysmography, optical bio-sensing, cardiovascular diagnostics.

- INTRODUCTION

When the tissue is illuminated by visible or near-infrared cw radiation, heartbeat-period changes in the transmitted and scattered optical signal levels can be recorded by means of the photoplethysmographic (PPG) sensors 1. The PPG signals are originated by absorption of optical radiation by the pulsating blood volume, therefore they contain clinically valuable information on the blood pumping and transport conditions in living body.

A number of transmission-type finger and earlobe PPG devices for monitoring of heartbeat rate and tissue blood supply have been designed and routinely used. Advanced designs of the back-scattering or reflection-type PPG sensors 2 are of increased interest today, mainly thanks to the their clinically more convenient one-touch operation mode. However, the reflected PPG signals are weaker and therefore more noisy than the transmitted ones.

Full and clear clinical interpretation of all components of the PPG signals is still problematic. Qualitatively, one can assume that the initial part of the detected heartbeat signal (raising front and systolic peak) mainly reflects the heart condition and activity, while the following part of a pulse is generally determined by elasticity and other features of the vascular system.

PPG signals are not strictly repeating and periodical, there are slight fluctuations of the signal amplitude, baseline and period 3. Consequently, the fluctuations take place relatively to some virtually stable mean single-period PPG (SPPPG) signal. This mean signal can be identified by averaging a number of sequent PPG pulses over a time interval longer than 50 seconds (which is the longest fluctuation period 3). The recently developed technique of the reflected PPG signal accumulation and integrated processing made possible to detect and analyze the mean SPPPG signals with fairly good accuracy and quality 4-6. Following our initial results, the mean SPPPG signal shape appears to be a very individual feature for each monitored person; qualitative differences in signal shapes for healthy individuals compared to those for persons with cardio-vascular disorders were observed. Obviously, the SPPPG signal shape contains certain coded information regarding the cardio-vascular state of the patient, and a detailed shape analysis eventually might provide clinical data for early cardio-vascular diagnostics in future. To check this opportunity in clinical environment for larger number of patients, more specific sensor design and signal processing technique had to be developed. This paper describes the design and signal processing concepts of our newly developed SPPPG sensor as well as some results of clinical trials carried out with this device.

E-mail: janispi@latnet.lv

IBM/PC

LED

R                                      +12V

AD

HD

M

AD

PD     PA

Tissue        Contact probe		Amplifier                            AD-card       Hard disc    Monitor

Fig. 1. Block-diagram of the optical SPPPG sensor device.

- THE SENSOR DESIGN

The advanced SPPPG sensor is intended for clinical use in conjunction with any standard PC. Three basic modules are needed for its operation – the sensor head (fingertip probe with amplifier), standard AD-card and a standard hard disk (preferably separate) with the signal processing software and space for storage of the recorded data. Feeding of all electronic circuits is provided by the PC power supply.

Block-diagram of the device is presented on Fig. 1. The finger contact probe - sensor head - comprises a continuously emitting diode LED (GaAs, max ~ 940 nm) integrated with a photodiode PD (Si, 1 cm2 active area) and a pre-amplifier chip PA. The pre-amplified PD output signal was passed via a flexible cable to the broadband amplifier and further to the AD-card input. Only the ac component of the photodiode output signal was amplified and further processed; the amplifier provided about 400-fold magnification. Following results of our recent study 4, frequency filtering of the remitted PPG signals may cause their shape-deformations, therefore signals of all frequencies were amplified and passed to input of the 12-byte AD-card.

The LED and photodiode of the fingertip probe were down-oriented during the measurements, and additional calibrated load was applied to provide equal pressure force (0.65 N) to the fingertip skin for all monitored patients. The contact probe was placed within a vertical cylindrical capsule, which served simultaneously as a finger-holder, external light shield and sliding guide for the optical probe. The 3rd (middle) finger of left arm was mainly used for the SPPPG signal recording, and the patients were kept in horizontal position (lying on their back) during the measurement time.

- THE SIGNAL PROCESSING

The signal processing software was stored on a separate hard disk, which served for operation of the sensor device and for storage of the measured and calculated data. The algorithm for integration and averaging of the detected PPG signals 4 was updated following our recent experience, and a service program was added. At the beginning of each trial, a window for entering the monitored patient data (name, age, pathology, etc.) was opened. Then a measurement window with instructions appeared, and after proper placing of the fingertip probe the measurements were started. The data were recorded for 60 – 80 seconds, then the whole PPG signal was stored in the HD memory and processed. A special algorithm calculated the mean normalized SPPPG signal for the monitored person and the corresponding signal shape parameters (maxims, minims, amplitude ratios, integral area, etc.). Heartbeat rate and arrhythmia could be calculated, as well. All these data appeared on the PC monitor within less than 5 seconds, so the time necessary for the whole procedure normally did not exceed two minutes.

Fig. 2. Single-period PPG signal shapes for various patients.

- RESULTS OF THE CLINICAL TRIALS

Some of the initially measured mean SPPPG signals for different persons are presented on Fig. 2. The signals were taken at the same location of the body (tip of the left thumb) and accumulated over 80 seconds. The monitored persons were without any pronounced cardio-vascular or any other pathologies. The following abbreviations were used: A, G and O - males of age 24 – 26 years, J - a male of 49, M - a female of 56.

Fig. 2 illustrates clear differences in the SPPPG signal shapes for the five persons. The notch which typically follows the diastolic dip is more pronounced in the cases of younger patients; this might be interpreted as a sign of better vascular elasticity compared to the older patients.

Changes in the SPPPG signal shapes after performing of various physical exercises were observed, too. As expected, the pulse period decreased due to the increasing heartbeat rate, but the initial parts of the SPPPG signals (raising front and time-position of the systolic peak) did not change much.

Clinical trials with the SPPPG sensor device have been started also to patient groups selected accordingly to specific cardio-vascular pathologies; this study is still underway at the Latvian Institute of Cardiology.  Several numerical parameters characterizing the mean SPPPG signal shape were calculated and analysed for each monitored person, such as time positions of all maxims and minims, ratios of their amplitudes, etc. For illustration, some of the clinical data are presented on Fig. 3 and Fig. 4.

Fig. 3 illustrates degree of repeatability of the recorded mean SPPPG signals for three healthy individuals. The measurements were repeated after 15-30 minutes, and no physical activities have been undertaken over this time.

Fig. 4 demonstrates the shapes and repeatability of the mean SPPPG signals recorded in clinical environment for five hypertension patients – four females and one male of age interval 52 …74 years (three to five measurement series for each). One can note that the after-systolic notches in the SPPPG signals for all these patients can not be observed at all.

. 	Fig. 3. The mean SPPPG signal repeatability: two measurement series for three healthy patients

Fig. 4. The mean SPPPG signal shapes for five

hypertension patients (clinical records).

- CONCLUSIONS

An optical single-period photoplethysmography (SPPPG) sensor device has been designed and clinically tested. Results of the clinical measurements show fairly good quality of the recorded mean SPPPG signals thus opening the possibility of detailed analysis of the signal shapes. The mean SPPPG signal shapes appear to be different and very individual for each monitored person, and it obviously reflects in certain way the cardio-vascular state of this particular person.

Joining the technical (sensor design) efforts with medical expertise and better understanding of the clinical needs, this technique would be successfully used for fast, easy and patient-friendly early diagnostics of cardio-vascular pathologies in the nearest future.

ACKNOWLEDGMENTS

Authors are very grateful to medical doctors Ieva Markowitza and Indulis Kukulis (Latvian Institute of Cardiology) for valuable discussions and arrangements for the clinical trials with the sensor device. Assistance of M. Phys. Uldis Rubins in development and tests of the advanced signal processing software is highly acknowledged.

REFERENCES

- A. B. Hertzman, “Photoelectric plethysmograph of the finger and toes in man”, Proc. Soc. Exp. Biol. Med. 37, pp. 1633-1637, 1937.

- H. Ugnell, “Phototplethysmographic Heart and Respiratory Rate Monitoring”, Ph. D. Thesis No. 386, Linkoping University, 1995.

- M. Nitzan, H. de Boer, S. Turivnenko et al., “Power spectrum analysis of spontaneous fluctuations in the photoplethysmographic signal”, J. Bas. Clin. Physiol. Pharmacol., 5, No. 3-4, 1994, pp. 269-276.

- J. Spigulis, U. Rubins, “Photoplethysmographic sensor with smoothed output signals”, Proc. SPIE. 3570, 1998, pp. 195-199.

- G. Venckus, J. Spigulis, “Frequency filtering effects on the single-period photoplethysmography signals”, Med. Biol. Eng. Comput., 37, Suppl. 1, 1999, pp. 218-219.

- J. Spigulis, G. Venckus, “Single-period photoplethysmography: a potential tool for noninvasive cardiovascular diagnostics”, Springer Series “Optics for Life Sciences” OFLS-VI, Berlin (in press).

Published in Proc. SPIE, Vol. 3911, 2000, p. 27-31.